Berkshire & Surrey Pathology Services

Frimley Park Hospital

Portsmouth Road

Frimley GU16 7UJ

4th July 2022

Dear Colleagues

RE Implementation of new analytical equipment

We wrote to you on the 26th April to inform of our plans to implement the Abbott analytical equipment over the summer months to provide Berkshire and Surrey Pathology Services with state-of-the-art analytical systems, to further increase the quality of our service offered and to enhance our service resilience.

The change of equipment will be associated with a change in results, reference ranges and interpretation of a number of analytes.  Analytical results measured on one piece of equipment do not necessarily give the same values when measured on a second, differing piece of equipment.

Based on in-house comparison studies we anticipate that the following range of analytes will change by:

- Less than 5%

- Between 5 and 10%

- Greater than 10%

| Analytes affected by <5% |  |
| --- | --- |
| ALP | Iron |
| Alpha-1-anti trypsin | Lithium |
| Bile Acids | Magnesium |
| Calcium | Phosphate |
| Chloride | Potassium |
| Cholesterol | Sodium |
| Creatinine | Total Protein |
| CRP | Transferrin |
| Glucose | Uric Acid |
| HDL | Urea |
| hCG | Vitamin D |

| Analytes affected by between 5-10% |  |
| --- | --- |
| ALT | Lactate |
| Amylase | Paracetamol |
| AST | Bilirubin |
| CK | Triglyceride |
| Conjugated Bilirubin | LH |
| Oestradiol | Progesterone |
| Testosterone | TSH |
| NT-pro BNP | Folate |

| Analytes affected by >10% |  |
| --- | --- |
| Albumin | LDH |
| GGT | Lipase |
| Cortisol | DHEAS |
| Ferritin | fT3 |
| fT4 | FSH |
| Procalcitonin | Prolactin |
| PTH | SHBG |
| Vitamin B12 |  |

The results of the following analytes are not directly comparable between different equipment:

Not directly comparable:

hs-Troponin I

CA199

CA125

CA153

CEA

AFP

PSA

Further details on the changes to these analytes along with changes to reference ranges will be released once dates of any changes have been confirmed.

We understand that these changes in analytical results and associated reference ranges will create challenges in the ongoing monitoring of chronic conditions at and around the time of the implementation, and caution will be necessary in the interpretation of these results.

If you have any specific questions regarding the implementation of the equipment or any specific patient pathways that you feel may be impacted, please do not hesitate to contact the department by emailing Lisa Glendenning our Comms and Change Lead for the Automation Programme lisa.glendenning1@nhs.net.

Kind Regards,

Patricia Ruwona

BSPS Chief Operating Officer

and

David Cartwright

BSPS Associate Medical Director (Blood Sciences)